## Slide 1
Unit 106 Understand and demonstrate fundamental electrical installation operations
Outcome 1 Be able to follow health and safety methods to carry out basic electrical practical applications
Bob Eyre

## Slide 2
Objectives
1.1 demonstrate the correct use of personal protective equipment for basic electrical practical applications
1.2 use the relevant health and safety practices throughout the task
1.3 identify and report any potential workshop hazards
1.4 demonstrate how to reduce risks for workshop activities.

## Slide 3
Demonstrate Correct Use of PPE
Correct use of PPE in the workshop means.
Wearing of appropriate clothing
Wearing of Safety Footwear which you should bring with you each day you are have workshop/practical lessons.
Other PPE needed will be provided as and when needed and includes.
  Ear defenders
  Safety glasses/goggles

## Slide 4
Use Relevant H&S practices
Whilst in the workshop YOU should.
  Follow workshop rules
  Not eat or drink
  Not use mobile phones as they may distract you from safety instructions.
  Not listen to music devices
  Work in a safe manner.
  Work tidily
  If in doubt ask the tutor or technician (Carrie)

## Slide 5
Identify and Report Workshop Hazards
To maintain a safe working environment for you and others you should.
Take responsibility for your immediate working area.
Report anything that might be dangerous to a lecturer or technician ASAP so they can react. Examples being
  Damaged tools.
  Loose fittings.
  Obstacles and or spillages on floors that may trip others.
  Injuries so they can be treated.

## Slide 6
Demonstrate how to reduce risks for workshop activities
Prevention is better than cure. You can help reduce risks by identifying potential risks and acting before they happen. This may be achieved by.
Working safely at ALL times.
Proper maintenance of tools that you are working with.
Only using tools in the way they are meant to be used.
Removing hazards ASAP to prevent injury.